## Slide 1
PCWG-Share-02 Provisional Results
PCWG Meeting Copenhagen
Peter Stuart (RES) & Jason Fields (NREL)

## Slide 2
WARNING: RESULTS ARE PROVISIONAL
The PCWG-Share-X platform continues to be refined and extended. Whilst much progress has been made, the PCWG-Share-2 results should still be considered provisional.
The results contained in this presentation should therefore be considered informative rather than definitive.

## Slide 3
Inner Range Power Curves Extracted from the Dataset Itself: the data analysis process has been designed such that the warranted power curve is never considered. Instead a power curve is extracted from a subset of the data (Inner-Range) which is then used to model the power output in the outer-range.
Intelligence Sharing, not Data Sharing: the data analysis process has been designed such that the datasets do not need to be shared outside of the participant organisations. Instead of sharing the actual data, participants will share performance metrics which describe the accuracy of the trial methodologies.
PCWG-Share-X: Neutralising Commercial Sensitivities

## Slide 4
Proprietary Dataset D
Analysis Definition Y
Organization D
Proprietary Dataset A
Organization A
Proprietary Dataset B
Organization B
Proprietary Dataset C
Organization C
Aggregator
(NREL)
Combination Analysis
Aggregated Hypothesis Performance Metrics
Hypothesis Performance Metrics
Analysis Definition Y
Analysis Definition Y
Analysis Definition Y
Hypothesis/Trial Methodology
How well did the trial method perform?
PCWG-Share-X: Data Flow

## Slide 5
PCWG-Share-X Definition Document
Download PCWG-Share-X Definition Doc from www.pcwg.prg

## Slide 6
PCWG-Share-02: Error Metric Definitions
See PCWG-Share-X Definition Document for Further Details

## Slide 7
PCWG-Share-02
Methods being Tested
IEC Turbulence Correction
REWS (Speed, Veer & Upflow) - REWS (S, V & U)
RAWS (Speed, Veer & Upflow) - RAWS (S, V & U)
2D Power Deviation Matrix
3D Power Deviation Matrix
Production by Height

## Slide 8
PCWG-Share-02: Datasets
51 Datasets (of which 6 are Remote Sensing Datasets)
3 datasets rejected due to clearly bad data in normalised scatter plot
1 dataset reject due to abnormally high scatter (more investigation needed)
→ Final 47 Datasets (of which 6 are Remote Sensing Datasets)
Remote Sensing Datasets:
6 in total
3 with Veer
0 with Upflow – Not possible to test REWS with Upflow this time

## Slide 9
PCWG-Share-02: Submission Map

## Slide 10
PCWG-Share-02: Submissions by Country
Meta data not specified

## Slide 11
PCWG-Share-02: Turbine Size vs Measurement Year

## Slide 12
PCWG-Share-02: Baseline Error, Inner vs Outer Range
Inner Range baseline errors are all close to zero (self-consistent)
Spread of Outer Range Results representative of Outer Range Modelling Uncertainty.

## Slide 13
PCWG-Share-02
Provisional RESULTS

## Slide 14
PCWG-Share-02: Baseline Errors by Wind Speed

## Slide 15
PCWG-Share-02: Turb Errors by Wind Speed

## Slide 16
PCWG-Share-02: 2D PDM Errors by Wind Speed
Over correction at power curve ankle and knee. Most likely due to poorly specified input 2D matrix (needs revisiting in PCWG-Share-2)

## Slide 17
PCWG-Share-02: 3D PDM Errors by Wind Speed

## Slide 18
PCWG-Share-02: 3D PDM Errors by Wind Speed

## Slide 19
PCWG-Share-02: REWS (S) Errors by Wind Speed

## Slide 20
PCWG-Share-02: REWS (S+V) Errors by Wind Speed

## Slide 21
PCWG-Share-02: RAWS (S) Errors by Wind Speed

## Slide 22
PCWG-Share-02: RAWS (S+V) Errors by Wind Speed

## Slide 23
PCWG-Share-02: RAWS (S+V) Errors by Wind Speed

## Slide 24
BOX PLOTS

## Slide 25
PCWG-Share-02: Baseline Errors by Wind Speed

## Slide 26
PCWG-Share-02: Inner Baseline Errors by Wind Speed

## Slide 27
PCWG-Share-02: Outer Baseline Errors by Wind Speed

## Slide 28
PCWG-Share-02: Outer Turbulence Errors by Wind Speed

## Slide 29
PCWG-Share-02: Outer 2D PDM Errors by Wind Speed
Over correction at power curve ankle and knee. Most likely due to poorly specified input 2D matrix (needs revisiting in PCWG-Share-2)

## Slide 30
PCWG-Share-02: Outer 3D PDM Errors by Wind Speed
3D Power Deviation matrix appears to do very well. More work is needed to verify this initial result

## Slide 31
PCWG-Share-02: Outer REWS (S) Errors by Wind Speed

## Slide 32
PCWG-Share-02: Outer REWS (S+V) Errors by Wind Speed

## Slide 33
PCWG-Share-02: Outer REWS (S+V) Errors by Wind Speed

## Slide 34
PCWG-Share-02: Outer RAWS (S) Errors by Wind Speed

## Slide 35
PCWG-Share-02: Outer RAWS (S) Errors by Wind Speed

## Slide 36
PCWG-Share-02: Outer RAWS (S+V) Errors by Wind Speed

## Slide 37
PCWG-Share-02: Outer Production by Height Errors by Wind Speed

## Slide 38
PCWG-Share-02: Errors by Method (‘Four Cell Matrix’)

## Slide 39
PCWG-Share-02: Errors by Method (‘Four Cell Matrix’)

## Slide 40
PCWG-Share-02: Improvements by Method (‘Four Cell Matrix’)

## Slide 41
Join the Power Curve Working Group at: www.pcwg.org