## Slide 1
PCWG-Share-X Update
20th May 2016
Peter Stuart

## Slide 2
Proprietary Dataset D
Analysis Definition Y
Organization D
Proprietary Dataset A
Organization A
Proprietary Dataset B
Organization B
Proprietary Dataset C
Organization C
Aggregator
(Academic Institution )
Combination Analysis
Aggregated Hypothesis Performance Metrics
Hypothesis Performance Metrics
Analysis Definition Y
Analysis Definition Y
Analysis Definition Y
Hypothesis/Trial Methodology
How well did the trial method perform?
PCWG-Share-01: Data Flow

## Slide 3
PCWG-Share-01: Error Metric Definitions
See PCWG-Share-01 Definition Document for Further Details

## Slide 4
PCWG-Share-01: Submissions by Participant Type

## Slide 5
Still unexpectedly large errors for baseline inner range
(further investigation required)
PCWG-Share-01: Baseline Error, Inner vs Outer Range
‘Uncertainty’ associated with
‘Outer Range’ effects.
Std Dev ≈ 2%
Smaller inner baseline errors still warrant further investigation
Version 0.5.9/10

## Slide 6
PCWG-Share-01: Baseline Errors by Wind Speed (0.5.8)
Large errors above rated for certain datasets.

## Slide 7
PCWG-Share-01: Errors by Method (‘Four Cell Matrix’)

## Slide 8
PCWG-Share-01: Improvements by Method (‘Four Cell Matrix’)

## Slide 9
Erroneous Outlier Issue

## Slide 10
PCWG-Share-01: Baseline Histogram for ‘Follow Up’ Datasets
PCWG participants were asked for permissions to allow the data aggregator to investigate their submissions for sources of error.
Owners of 34 datasets responded positivity. A baseline NME histogram for these participants is shown below.

## Slide 11
PCWG-Share-01: Baseline Errors by Wind Speed (Outliers Only)
The 4 large negative NME outliers all have a distinct ‘by wind speed error signature’.
Further investigation is required to ascertain what is going on with these datasets.
Large errors at high wind speeds

## Slide 12
PCWG-Share-01: Baseline Errors by Wind Speed (Non-outliers)
The ‘by wind speed’ errors of the non-outliers look more reasonable, although some notable behaviour is observed (as highlighted).
Re-plot once interpolation issue is resolved.
Notable behaviour for ‘red’ dataset.
Notable behaviour for ‘blue’ dataset.
Interpolation Issue

## Slide 13
POWER CURVE
INTERPOLATION ISSUE

## Slide 14
Linear Interpolation: v0.5.8 and earlier, improvement for individual data points but noticeable over prediction at low wind speed

## Slide 15
Cubic interpolation: introduced in v0.5.9 for PCWG-Share-01. Noticeably reduces error at low wind speed compared to linear.

## Slide 16
Normalised Mean Error (NME) by wind speed:
Cubic interpolation has similar but smaller errors than linear.
Zero-order has 0 error by definition
Cubic and linear interpolators over estimate data at the ankle
Cubic and linear interpolators under estimate data at the knee

## Slide 17: Residual Error
Main reason for residual error: Bin averages are used as interpolation points. Unfortunately the bin averages do not lie exactly on the curve when the underlying function is non-linear.
Cubic
(Convex)
Clipped
(Concave)
Linear
The bin average, (avg(x), avg(y)),
is above the curve
The bin average, (avg(x), avg(y)),
is on the curve
The bin average, (avg(x), avg(y)),
is below the curve

## Slide 20: Interpolation Error – Follow Up
Proposed solution now implemented in PCWG tool (Marmander method). Next round of sharing initiative will utilise this method.

## Slide 21
Many thanks to all PCWG-Share-01 Participants and special thanks to
Andy Clifton of NREL
Join the Power Curve Working Group at: www.pcwg.org