## Slide 1
PCWG 2016 Roadmap & Meeting Overview
Thursday, September 29 2016
PCWG, Minneapolis
Jason Fields (NREL)

## Slide 2
Categories of Turbine Performance Corrections
Inner Range Performance
Adjustments to reflect the fact that even under warranted/ideal conditions performance may not be 100%
Outer Range Performance
Adjustments to reflect the fact that turbine performance may deviate from Inner Range behaviour in Outer Range Conditions
e.g. Low/High TI, Low/High Shear etc.
Note: The PCWG Inner-Outer Range Proposal is Conceptual Decomposition, and does infer specific parameter ranges.
Reflecting the Real World…
+ Other Performance Corrections
Icing, Blade Degradation, Sub-optimal performance etc.
Inner Range
Outer Range

## Slide 3
Reflecting the Real World: Inner Range Performance
Extract from ‘High Resolution Turbine-Specific Matrix’, Carl Ostridge DNV GL,
Colorado PCWG Meeting, 10 August 2016, download from www.pcwg.org.
Historic Performance Under Inner Range Conditions
The PCWG is seeking to design an adjustment framework to define how to make best use of historic power performance tests when predicting future turbine performance.

## Slide 4
Turbulence Intensity [%]
Wind Speed [m/s]
Colour = % Observed Power Deviation
(Observed - Base)
Power (P)
Wind Speed (v)
P=P(v, ρ)
Inner Range Performance
Outer Range Deviations (Observed – Base)
High TI & High V
Negative Deviation
Low TI & Low V
Negative Deviation
High TI & Low V
Positive Deviation
Reflecting the Real World: Outer Range Performance
The PCWG is attempting to evaluate methods for predicting Outer Range performance via the PCWG Intelligence Sharing Initiative (PCWG-Share-X)

## Slide 5
PCWG 2016 Roadmap

## Slide 8
Priority Actions (what we are working on right now)
Note: as IEA Task 32 also planned a IEC61400-12 Round Robin the PCWG has focused on worked examples (more later).

## Slide 9
Meeting Overview

## Slide 10
Meeting Overview
Introduction (Erik Hale and Jason Fields)
PCWG-Share-X, Intelligence Sharing Initiative (Andy Clifton)
Preparing for 61400-12-1 Ed 2 (Ellie Weyer & Vineet Parkhe):
  IEA Task 32 Round Robin
  PCWG Worked Examples
Inner Range Performance (Erik Hale & Dan Bernadette)
Technical Presentations and Q&A (Yu Ding & Gil Lizcano)
Further Discussion (chaired by Jason Fields)

## Slide 11
Join the Power Curve Working Group at: www.pcwg.org