## Slide 1: IEC 61400-15
Assessment of Wind Resource, Energy Yield, and Site Suitability Input Conditions for Wind Power Plants

## Slide 2: IEC 61400-15
CD Expected to be issued late 2018/early 2019
Intended to compliment other IEC standards
  61400-1 (Design)
  61400-12 (Power Performance Testing)
Committee has 55 members (2nd largest wind standard)
Next Meeting: Tokyo, Japan April 2018
Broad Engagement
  OEM’s
  Owner/Operators
  Consultancies
  Research Institutes

## Slide 3: Foundational Work
IEC 61400-1,3 Wind Turbine: Design Requirements
IEC 61400-12-1 Power Performance Testing
IEC 61400-26 Availability: Technical Specification
MEASNET “Evaluation of site specific winds”
Consortium Loss & Uncertainty definitions
Wind Resource Assessment: A Practical Guide to Developing a Wind Project
IEA Wind Task 32 Remote Sensing
IEA Wind Task 31 Windbench and Wakebench
IEA Task 11 75th meeting on complex terrain
Power Curve Working Group
Existing related standards & best practices
Other documents/collaborations

## Slide 4: Goals – Normative (Required)
Define standards for reporting
Define IEC uncertainty model
Define turbine suitability load calculation inputs
Standardize the data transfer to improve quality and transparency

## Slide 5: Goals – informative (Recommended)
Provide industry best practices
Measurement (Local Site Conditions)
Data Management
Data Analysis
Wind Resource Modeling
Wind Plant Energy Yield Modeling
INCLUDING TURBINE PERFORMANCE!

## Slide 6: How can the PCWG help?
 | Normative | Informative
Method |  | 
Tool |  | 

## Slide 7: How can the PCWG help?
Informative discussion presenting multiple methods.
  Ensure we are discussing limitations of methods
  Use care to limit future development/innovation
Make sure we are clear about the scope (inner range/outer range, for example)
We can also provide the uncertainty of NOT correcting (as well as the bands for potential improvements)
Concept of Inner/Outer range vocabulary
Can we use the I/O range to help distinguish between bias and uncertainty.
Provide a list of what need to be considered in turbine performance.
Is there a risk of publishing a method that could not be updated as frequently as the standard.
Ought we to provide our “side findings” such as interpolation of power curves?
PCWG tool could be proposed as a method to generate matricies (not in the application)

## Slide 8: Thank you!
Taylor Geer
taylor.geer@dnvgl.com
@taylorgeer1