## Slide 1
Calibrate to Power
Peter Stuart
Notes: Please note this was last updated in March 2017 – if you have any comments on content / figures please contact designuk@res-group.com
Logo updated: RES power for good

## Slide 2
Traditional Approach
Traditional Resource Assessment Approach

## Slide 3
Traditional Approach: Step 1
LiDAR Serial number ABC123
Calibrate (validate) LiDAR to Met Mast Anemometer.
Anemometer Calibrated in Wind Tunnel

## Slide 4
Traditional Approach: Step 2
Measure Power Curve on test site
Power Curve
Power
Wind Speed
(absolute)

## Slide 5
Calibrate to Power: LiDAR Specific Power Curve Measurement
Measurement on target site (pre-construction)
Absolute Wind Speed
X
=EY
MWh
Absolute Wind Speed

## Slide 6
Calibrate to Power Approach
Calibrate to Power
Resource Assessment

## Slide 7
Calibrate to Power: LiDAR Specific Power Curve Measurement
Site A
Site B
LiDAR Serial number ABC123
Power Curve
WT100 Power
Measurement on Site A (Training):
Existing Operational Turbine Model WT100
Wind Speed as Measured by ABC123

## Slide 8: Transport Same Physical LiDAR (Serial ABC123)
Site A
Site B
Move LiDAR (same physical device) to site B.

## Slide 9
Calibrate to Power: LiDAR Specific Power Curve Measurement
Site A
Site B
LiDAR Serial number ABC123
Wind Speed
Measured by ABC123
(on Site A)
WT 100 Power
Measurement on Site B (Application):
Pre-construction Site for Model WT100
X = planned turbine location
X
X
=EY
MWh
Wind Speed
Measured by ABC123
(on Site B)

## Slide 10: Machine Learning
This approach would like itself to advance statistical modelling approaches e.g. machine learning.
This would mean ‘outer range’ considerations would be inherently addressed (as long as training data sufficient).
Wind Speed
Power Curve Measured by ABC123
(from Site A)
WT 100 Power
Traditional Power Cure
Machine Learning
A Clifton http://www.nrel.gov/docs/fy13osti/58314.pdf

## Slide 11
Training site (e.g. prototype install)
Target site (pre-construction)
6 months
Measurement at training site
12 months measurement at target site
=> Machine Identification
18 months out
Q. How Long does the training measurement need to be?

## Slide 12
Blue
Purple
6 week measurement (very low standard error)
Blue
Green
6 week measurement (very low standard error)
Machine Identification
3 months out
Training site (e.g. prototype install)
Target site (pre-construction)
Use of transfer LiDAR to shorten duration
Existing (purple) at training location
Existing (green) at target location
Move transfer (blue) LiDAR from training to target site

## Slide 13: Benefits & Next Steps
Benefits
Site step major measurement uncertainty component (no requirement to reference LiDAR measurement to Anemometer).
Provide highly specific training dataset to advanced statistical methods (specific to turbine model and specific to physical LiDAR).
Lower overall yield uncertainty, assist project design and inform turbine selection (lower £/MWh).
Could be extended to loading analysis if loading sensors on training site.
Next Steps
RES is planning to trial approach on two operational sites in 2018.
  Training Site (Site A)
  Validation Site (Site B)
RES is open to collaboration with industry stakeholders

## Slide 14: Acknowledgements
This presentation expands upon ideas originally voiced by Matt Smith of ZephIR.